|  | GENERAL MAINTENANCE & RISK MANAGEMENT GUIDELINES FOR COUNCIL ASSETS |
| --- | --- |

The Committee of Management is responsible for repairs, cleaning and maintenance of the facility in accordance with the agreement.  The following schedule will assist in determining Committees and Council maintenance responsibilities.

The schedule will also assist in determining what activities must have a Job Safety Analysis (Refer Forms & Examples) and what activities require specialist skills to undertake the task.

Note:

The Risk Rating shown in the schedule is only an indication. Variables within the activity may affect risk and must be reassessed by those involved in the activity. Eg. General maintenance to Internal Roads may require a grader and other plant. In this case the use of plant is one of the hazards that may be identified. Pedestrians being struck and possibly killed is the risk. This may give a Risk Rating of High (H11). If however the activity only involves a wheel barrow and shovel to do the maintenance, the Risk Rating may be considerably lower, perhaps Medium (M5 to M8).

As a guide:

Low		Assess risks to confirm the risk rating.

Medium	Job Safety Analysis to be undertaken and documented.

High	Works must be referred to competent contractor or Council unless controls identified in a Job Safety Analysis, reduce the risk to an acceptable level (refer note above).

Please call Council for assistance if in doubt about the risk management process

| Item Description | Responsibility of the Committee of Management | Responsibility of the Council | Risk Rating (indication only) | Job Safety Analysis Required | Competent Contractor or Council to do |
| --- | --- | --- | --- | --- | --- |
| Site Conditions |
| Fences | To ensure fences are in good condition and sound | Renewal or replacement as prioritised by Council’s Capital Works Program | Low Medium | Yes |  |
| Signage | To ensure signs are clear and legible and sound | Renewal or replacement as deemed necessary | Low Medium | Yes |  |
| Carparks | General maintenance e.g. filling pot holes, spraying weeds, table drains | Renewal or replacement as prioritised by Council’s Capital Works Program | Medium High | Yes | Yes if Risk Rating is High |
| Playgrounds | Monthly inspection of Playground equipment to ensure area is safe | Renewal or replacement as deemed necessary | Low | No |  |
| Light Towers / Flag Poles | To ensure light towers / flag poles are in good condition and sound and to ensure that light towers are in good working order | Nil | Medium High | Yes | Yes if Risk Rating is High |
| Drainage | To ensure natural lay of the land is not altered as to affect drainage without prior consent of Council | Renewal or replacement as prioritised by Council’s Capital Works Program | Low |  |  |
| Building Elements |
| Building Condition | Carry out regular inspections of facilities to ensure sound. Report. large crack, sagging, leaning etc. to Council | Renewal or replacement as prioritised by Council’s Capital Works Program | Low |  |  |
| Doors (External) Doors (Internal) | Regular cleaning and maintenance e.g. jamming etc. | Renewal or replacement as deemed necessary | Low Medium | Yes |  |
| Windows / Glass | To keep clean and reportany breakage | Renewal or replacement as deemed necessary | Low High | Yes | Yes if Risk Rating is High |
| Walls (External) Walls (Internal) | Regular cleaning and maintenance. Repair of walls if damaged through foreseeable misuse | Renewal or replacement as prioritised by Council’s Capital Works Program | Low Medium | Yes |  |
| Floor surfaces and coverings | Regular cleaning and maintenance | Renewal or replacement as prioritised by Council’s Capital Works Program | Low Medium | Yes |  |
| Roof | Report broken tiles, leakages etc. to Council | Cleaning and maintenance. Renewal or replacement as prioritised by Council’s Capital Works Program | High | Yes | Yes |
| Eaves | Report any maintenance requirements to Council | Cleaning and maintenance. Renewal or replacement as prioritised by Council’s Capital Works Program | High | Yes | Yes |
| Guttering | Report any maintenance requirements to Council | Cleaning and maintenance. Renewal or replacement as prioritised by Council’s Capital Works Program | High | Yes | Yes |
| Roof | Report broken tiles, leakages etc. to Council | Cleaning and maintenance. Renewal or replacement as prioritised by Council’s Capital Works Program | High | Yes | Yes |
| Eaves | Report any maintenance requirements to Council | Cleaning and maintenance. Renewal or replacement as prioritised by Council’s Capital Works Program | High | Yes | Yes |
| Guttering | Report any maintenance requirements to Council | Cleaning and maintenance. Renewal or replacement as prioritised by Council’s Capital Works Program | High | Yes | Yes |
| Drainage | Keep drains clear of foreign objects, and clear when blocked and carry out general maintenance | Renewal or replacement as prioritised by Council’s Capital Works Program | Low Medium | Yes |  |
| Ceiling | All repairs and painting due to operational usage subject to heights restrictions | Renewal or replacement as prioritised by Council’s Capital Works Program | Medium High | Yes | Yes if Risk Rating is High |
| Curtains / Blinds | Regular cleaning, repair and replacement | Nil | Low Medium | Yes |  |
| Lighting (Internal) | Replace and repair light fittings | Nil | High | Yes | Yes |
| Lighting (External) | Maintain and replace when required | Nil | High | Yes | Yes |
| Electrical Panel and Wiring Electrical Fittings -Light Switches / Powerpoints | Minor repairs and replacement Consult with Council prior to any major works. | Renewal or replacement as prioritised by Council’s Capital Works Program | High | Yes | Yes |

| Item Description | Responsibility of the Committee of Management | Responsibility of the Council | Risk Rating (indication only) | Job Safety Analysis Required | Competent Contractor or Council to do |
| --- | --- | --- | --- | --- | --- |
| Building Elements (cont) |
| Building alterations | Request for Works form to be completed and forwarded to Council for approval prior to any works being undertaken. Cost of all works related to alteration | Assess all requests submitted and if approved ensure satisfactory completion. | Medium High | Yes | Yes if Risk Rating is High |
| Vandalism | Removal of graffiti from external areas and other associated work as agreed | Nil | Medium High | Yes | Yes if Risk Rating is High |
| Keys / Locks | Responsible for keys issued by Council | Purchase, install and maintain all locks | Low | No |  |
| Floodlights | Total responsibility for purchase, installation, utility costs, repairs, and maintenance | Nil | Low High | Yes | Yes if Risk Rating is High |
| Security system | Purchase, installation, service and maintenance (if applicable) | Nil | Low High | Yes | Yes if Risk Rating is High |
| Plumbing and fixtures | Cost of internal repairs | Renewal or replacement as prioritised by Council’s Capital Works Program | Medium | Yes |  |
| Painting | Internal painting if damaged through general use | Renewal or replacement as prioritised by Council’s Capital Works Program | Low High | Yes | Yes if Risk Rating is High |
| Building (external) | General maintenance & repairs. Consult with Council if required | Renewal or replacement as prioritised by Council’s Capital Works Program | Medium High | Yes | Yes if Risk Rating is High |
| Health and Amenities |
| Kitchen | Regular cleaning and maintenance. Also refer to Hall Facility Conditions Report for guidance. | Renewal or replacement as prioritised by Council’s Capital Works Program | Low Medium | Yes |  |

| Item Description | Responsibility of the Committee of Management | Responsibility of the Council | Risk Rating (indication only) | Job Safety Analysis Required | Competent Contractor or Council to do |
| --- | --- | --- | --- | --- | --- |
| Health and Amenities (cont) |
| Toilet | Regular cleaning and maintenance | Renewal or replacement as prioritised by Council’s Capital Works Program | Low Medium | Yes |  |
| Food handling areas and equipment | Comply with relevant Health Acts and maintain such equipment required under the Health Act | Nil | Medium | Yes |  |
| Emergency Equipment – Please note that Council will conduct Essential Services inspections on a regular basis |
| Exit Doors / Signs | Regular Inspection and maintenance e.g. replacement of fluros etc. | Renewal or replacement as required | Low Medium | Yes |  |
| Fire Detectors / Alarms | Regular Inspection | Renewal or replacement as required | Low | No |  |
| Fire Extinguishers | To fill when discharged | Annual maintenance and replacement due to age | Medium | Yes |  |
| Fire Hose Reel | Regular Inspection | Renewal or replacement as required | Low | No |  |
| Fire Hydrants | Regular Inspection | Renewal or replacement as required | Low | No |  |
| Emergency Power | Repairs and maintenance | Nil | Medium High | Yes | Yes if Risk Rating is High |
| Emergency Lighting | Repairs and maintenance | Renewal or replacement as required | Medium High | Yes | Yes if Risk Rating is High |
| First Aid | Ensure appropriate First Aid facilities available | Audits First Aid facilities | Low | No |  |
| Evacuation Plan | Ensure accurate Evacuation Plan is in place and publicised | Audits Evacuation Plans | Low | No |  |

| Item Description | Responsibility of the Committee of Management | Responsibility of the Council | Risk Rating (indication only) | Job Safety Analysis Required | Competent Contractor or Council to do |
| --- | --- | --- | --- | --- | --- |
| Services |
| Electricity / Gas Supply Water Supply Hot Water System | Payment of all gas and electricity bills, servicing and repairing when required | Renewal or replacement as prioritised by Council’s Capital Works Program | Medium High | Yes | Yes if Risk Rating is High |
| Cooling (Air Conditioning / Ceiling Fans) | Payment of all electricity bills, servicing and repairing when required | Renewal or replacement as prioritised by Council’s Capital Works Program | Medium High | Yes | Yes if Risk Rating is High |
| Heating | Payment of all gas and electricity bills, servicing and repairing when required | Renewal or replacement as prioritised by Council’s Capital Works Program | Medium High | Yes | Yes if Risk Rating is High |
| Communications | Payment of all bills, servicing, replacing and repairing when required | Renewal or replacement as prioritised by Council’s Capital Works Program | Low Medium | Yes |  |
| Septic / Sewerage | General maintenance & repairs | Renewal or replacement as prioritised by Council’s Capital Works Program | Medium High | Yes | Yes if Risk Rating is High |
| Playing Arena Surface Conditions |
| Grassed Areas | Regular mowing and maintenance to ensure areas are clean and tidy and free of hazards | Renewal or replacement as prioritised by Council’s Capital Works Program | High | Yes | Yes |
| Sports Grounds (Start of Season Report must be completed) | Ensure sports ground is maintained to a safe standard to suit playing conditions as per Association requirements. | Renewal or replacement as prioritised by Council’s Capital Works Program | Medium High | Yes | Yes if Risk Rating is High |
| Sprinklers | Inspection to ensure sprinklers are working prior to start of season of use and an inspection every 3 weeks during season of use | Renewal or replacement as prioritised by Council’s Capital Works Program | Low | No |  |
| Other |
| Hygiene | Keep all areas in a clean and hygienic state | Nil | Medium | Yes |  |